## Slide 1: Many body system measurement part
Speaker: Jay
Advisor: Prof. Lin
Co-Advisor: Prof Hoi

## Slide 2: Introduce many body system

## Slide 3: First step for many body system
Extract the population
System optimal control
Random work  Done by W.D oliver group on Transmon

## Slide 4: Other example
Bose-Hubbard
: spinless bosons on a lattice
Hartree-Fock: nuclear physics

## Slide 5: Recap previous
In previous measurement
  No time domain data
  Bad resonator quality factor  Hard to readout (Qi & Qc < 10^4)
  No fully developed measurement step
  Fitting and Qick code not fully refined

## Slide 6: Outline
One tone
  Spectrum
  Circuit fit
  One tone vs flux
  Power dependent
Two tone
  Spectrum
  Two tone vs flux
  Time domain
Time domain
  Rabi
  T1
  T2
  Power optimize
Single shot
  Optimize

## Slide 7: Driving to steady state and moving readout
Qubit drive
RO
RO

## Slide 8: One tone
r1
r4
r5
r2
r3

## Slide 9: Circle fit
quick oscillation  environment
The time it takes an electrical signal to pass through it

## Slide 10: Phase correct
Freq vs phase in small range

## Slide 11
Notes: Development of Niobium Superconducting Microwave Resonators, Felix Fischer

## Slide 12: Phase correct
Freq vs phase in small range
Avg. Qi ~ 2e4
Avg. Qc~ 8e3
Notes: Coupling Harmonic Oscillators to Superconducting Quantum Interference Cavities, I.C. Corveira Rodrigues

## Slide 13: One tone

## Slide 14: Freq vs output gina
Fs = 6.881GHz
Fs = 9.584GHz

## Slide 15: One tone vs flux (by DAC pulse)
Flux
resonator
Dac0
Local flux line
saturate
saturate

## Slide 16: One tone vs flux (by DAC pulse)
Flux
resonator
Dac0
Local flux line
saturate

## Slide 17: Two tone
One tone vs flux
Two tone at max frequency

## Slide 18: Two tone
Gaussian: blue
Cosine: yellow

## Slide 19: How to get full two tone spectrum?
?

## Slide 20: Two tone fast flux spectrum
Fast flux
Qubit
Resonator
Dac0
Dac1
Dac3
ADC demode
ADC0
Dac0
Local flux line
Don’t be too long

## Slide 21: Two tone fast flux spectrum
Dac0
Local flux line
Like high pass filter

## Slide 22: Two tone vs flux (DAC pulse)

## Slide 23: Auto measure step
Two tone  qubit frequency by fitting
Amplitude Rabi  pi, pi/2 gain by fitting
T2 with activate detune  correct the frequency
Amplitude Rabi chevron  more correct pi, pi/2 pulse
T1
Dispersive shift  get optimize readout frequency

## Slide 26: More correction for amplitude drive
PI
PI
PI
PI
……
PI
PI
Resonator
ADC demode

## Slide 27: Pros & cons with Rabi chevron
Pros
  Easy to do
  Doesn’t need very good SNR
Cons
  Need more precisely time step
  Take lots of time to get a 2D plot

## Slide 29: Optimize amp optimization procedure
Ref: Characterizing errors on qubit operations via iterative randomized benchmarking

## Slide 30: Readout frequency optimize
0/PI
Sweep Resonator freq.
ADC demode
Relax

## Slide 31: Tune up single qubit
Two tone spectrum
Amplitude rabi
T2 Ramsey + activate detune(5MHz)  Find the correct frequency
Back to Amplitude rabi by using correct frequency
  Rabi chevron optimize
T1
Dispersive shift measurement  Find highest readout SNR point
  Will replace by pi pulse vs readout frequency

## Slide 32: Next! Go single shot
Correct qubit resonance frequency
Correct pi pulse amplitude ( also pi/2)
Highest Readout SNR point
Now you get

## Slide 33: Single shot without Quantum amplifier

## Slide 34
|0>
|1>

## Slide 35: Integration too long or amp too high
1.5us integration
Ref: Metrology of Quantum Control and Measurement in Superconducting Qubits
Notes: Metrology of Quantum Control and Measurement in Superconducting Qubits

## Slide 36: Single shot optimize
Gain vs integration vs fidelity

## Slide 37: Next step
Introduce |f> state into consideration

## Slide 38: Conclusion
We get high single qubit performance on ZCU board.
Full stack fitting function to be able auto calibration
Fast flux pulse driven by qick  ready for Two qubit gate

## Slide 39: Future work- Multi qubit crosstalk calibration

## Slide 42
Rf crosstalk
DC crosstalk
Ref: QUANTUM FLUIDS IN A BOSE-HUBBARD CIRCUIT, GABRIELLE LYA CASTIAUX ROBERTS

## Slide 43: Thanks